**ADDENDUM NUMBER 2**

**INVITATION FOR BIDS**

SUGAR GROVE STATION

4-N-WV-0560/PEACH416004001

July 13, 2016

This addendum serves as a technical correction to the Invitation for Bids, Notices and Covenants, Underground Storage Tanks section (page 22) which currently states that “…The tanks have been maintained and are currently in compliance, or will be as of the date of transfer with EPA UST provisions codified at 40 CFR Part 280 and other applicable laws.”

In order to fully comply with 40 CFR Part 280 and WV Code § 22-17, the United States has determined that full compliance will be achieved by removal of the tanks and associated piping and removal of the contaminated soil. The tank and soil removal area will be backfilled by clean soil. All work is expected to be completed prior to transfer of the property.

